AMRUTHA TECHNOLOGIES

A-69, 5th, BLOCK, PANCHAVATI ENCLAVE.

OPP: RADHIKA THEATRE. ECIL (POST).HYDERABAD.500 062.
MODEL NO: AlcoStop 4800
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Get results in
1 second
  Technical Data
· Sensor
    Fast fuel cell
· Measurement range
       0-1OOmg/ 1OOml
· Measurement time
                  Minimum 1 second, adjustable
· Zeroing time
   < 5 seconds
· Blow volume
                              1.0L or according to customer requirement
· Display
                            Digital and full graphic backlight display
· Data store
                up to 50'.XJ measured value
· Real time clock                           No
· Battery
              Li-ion , rechargeable battery
· Calibration
      Every 12 months
· Operation  temperature
     -5·c to +50 °C
· Alarm                                               Red, yellow, green LED indication,           
                                                           alarm limit can be adjusted
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